| Enclosure ratings |  |  |
| --- | --- | --- |
|  | UV stable thermoplastics |  |
|  | Mounting | 35mm DIN rail, wall mount and pole-top mount |
|  | Dimensions | 337.75 x 160 mm |
|  | Terminals | 2 x 25mm2 and 2 x 16mm2 |
|  |  | With 960o glow wire resistant end blocks |
| Typical configurations: BEC44(09) / wBEC44(09) |  |  |
| Description: Two meters and two breakers (63 A only) |  | Description: Two meters only |
| Description: One meter and one (63/80 A) breaker |  | Description: One meter only |
| Enclosure only |  |  |
| Contents: - Front cover - Rear cover - 2 x cable glands - Neutral busbar with cage clamps |  |  |